## Config (hidden)
Equipment Types | Detector Types | Procedure IDs | Tolerance Table |  |  | Technicians | Reviewers | Approvers | Cert Number Prefix
Spectrometer | Survey Probe | WC-CAL-001 Spectrometer Calibration | Parameter | Unit | Tolerance (+/-) | Tech 1 | Reviewer 1 | Approver 1 | WC-ARC-CAL-
Particle Counter | Inclinometer | WC-CAL-002 Particle Counter Calibration | Detector Response | % | 2 | Tech 2 | Reviewer 2 | Approver 2 | Next Sequence
Viscometer | Gyroscope | WC-CAL-003 Viscometer Calibration | Inclinometer | degrees | 0.5 | Tech 3 |  |  | 1
Moisture Analyser | Magnetometer | WC-CAL-004 Detector Calibration | Gyroscope | degrees | 1
Ferrograph | Accelerometer | WC-CAL-005 Inclinometer Calibration | Temperature | °C | 2
Titrator | N/A | WC-CAL-006 Gyroscope Calibration | Humidity | %RH | 5
pH Meter |  | WC-CAL-007 General Instrument Calibration | Voltage | V | 0.05
Conductivity Meter |  |  | Current | mA | 0.01
Other

## Certificate_Input
WEARCHECK ARC — CALIBRATION CERTIFICATE INPUT
Complete all fields below. Yellow cells require input.
CERTIFICATE INFORMATION
Certificate Number
Date of Issue
Calibration Date
Next Calibration Due
Calibration Procedure
EQUIPMENT UNDER TEST (EUT)
Equipment Name
Manufacturer
Model Number
Serial Number
Asset Number
Location / Department
SPECIFICATIONS & TOLERANCES
Detector Tolerance (+/-)
Inclinometer Tolerance (+/-)
Gyroscope Tolerance (+/-)
ENVIRONMENTAL CONDITIONS
Temperature (°C)
Humidity (%RH)
Atmospheric Pressure (kPa)
CALIBRATION SOFTWARE
Software Manufacturer
Software Name
Software Version
MOUNTING CONDITIONS & CONSIDERATIONS
Mounting Torque
Lubrication Used
Mounting Orientation
Cable Routing
Reference Level
gn Value
AUTHORISATION — CALIBRATED BY (TECHNICIAN)
Tech Name | Tech Surname
Tech Title | Tech Date Signed
Tech Signature
AUTHORISATION — REVIEWED BY
Reviewer Name | Reviewer Surname
Reviewer Title | Reviewer Date Signed
Reviewer Signature
AUTHORISATION — APPROVED BY
Approver Name | Approver Surname
Approver Title | Approver Date Signed
Approver Signature
TRACEABILITY & UNCERTAINTY
Traceability: The measurements reported herein are traceable to national/international standards through an unbroken chain of calibrations. Reference standards used are documented in the Reference_Standards sheet.
Uncertainty: The reported expanded uncertainty is based on a standard uncertainty multiplied by a coverage factor k=2, providing a level of confidence of approximately 95%. The uncertainty evaluation is in accordance with the Guide to the Expression of Uncertainty in Measurement (GUM).
RESULTS SUMMARY (AUTO-CALCULATED)
Pre-Calibration Result
Post-Calibration Result
Inclinometer Result
Gyroscope Result
OVERALL RESULT

## Calibration_Data
TABLE 1: BEFORE CALIBRATION — DETECTOR RESPONSE
# | Set Point | Actual Reading | Deviation | Tolerance (+/-) | Conformance | Section Result
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
TABLE 2: AFTER CALIBRATION — DETECTOR RESPONSE
# | Set Point | Actual Reading | Deviation | Tolerance (+/-) | Conformance | Section Result
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
TABLE 3: INCLINOMETER CHECK
# | Set Point | Actual Reading | Deviation | Tolerance (+/-) | Conformance | Section Result
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
TABLE 4: GYROSCOPE CHECK
# | Set Point | Actual Reading | Deviation | Tolerance (+/-) | Conformance | Section Result
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15

## Reference_Standards
REFERENCE STANDARDS & TRACEABILITY
# | Reference Standard | Manufacturer | Serial Number | Certificate Number | Calibration Due | Traceability
1
2
3
4
5
6
7
8
9
10

## Audit_Log
AUDIT LOG — CERTIFICATE CHANGE HISTORY
Record all changes, reviews, and approvals below.
# | Date | Action | Performed By | Description | Verified By
1 | 2026-03-26 | Certificate Created | System | Initial certificate template generated
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51